## Slide 1: Introduction
Momentum, mass and energy transport in sub-millimeter sized system or channel under a driving force.
The subject received significant attention over last decade due to miniaturization of sensors, biomedical implants, making of novel materials and structured catalyst
Lab on chip: Entire bio/chemical laboratory on the surface of silicon or polymer chips
Leverages the techniques that are developed over years for silicon based microelectronics industry.
Polymer based lab on chip is cheaper and easy to produce in mass scale.

## Slide 2: Scaling laws
Surface forces (surface tension gradients and shear forces) is proportional to (length)2.
Volume force (e.g., gravity and inertia) is proportional to (length)3.
Their ratio tends to infinity as the length scale is reduced.
Volume forces become unimportant, and surface forces dominate in microfluidic scale

## Slide 3: Continuum hypothesis
Fluid is not perfectly continuous in structure, instead composed of several molecules.
Physical quantities e.g., mass, momentum and energy associated with small volume of fluid containing large number of molecules are taken as sum of corresponding quantities for the molecules in the volume.
At atomic scale (e.g., probe volume in AFM), large fluctuations due to molecular structure of fluid become significant.
At larger probe volume with sufficiently large number of molecules, well-defined average values with small statistical fluctuations are obtained.
A liquid cube of 10 nm side contains 4E04 molecules and exhibit 0.5% fluctuation in numbers. For gas, the size is 10 times.
For probe volume larger than 10 micrometer, variations in physical properties due to external forces appear.

## Slide 4: Eulerian formulation
Definition of field variable
Measurement of velocity using microparticle image velocimetry
Microparticles with diameters of the order of 1 µm are suspended in the flow.
Positions are recorded as grey-scale values in CCD camera through an optical microscope, using either transmitted or reflected light.
Two pictures are recorded by sending two light pulses in quick succession of millisecond apart.
Use of cross-correlation function to determine average velocity at point r.